## Slide 1: Machine Protection and Operation
Doug Curry
USPAS, January 2017

## Slide 2: From Commissioning to Operations
FTS
STS

## Slide 3: From Commissioning to Operations
~ 7 years
> 1.3 GeV
1.2 GeV Run Period
1.0 GeV Run Period
1.4 GeV

## Slide 4: Machine availability
Disruption to the user program
  Especially for short duration experiments
DOE expectation of their facilities
Categorize failures depending on experimental impacts
  4 hours?
  12 hours?
  1 day??
Anticipate 1 week delay in machine startup
SNS Instrument layout

## Slide 5: MPS Installations
Cost/performance
  Component cost versus MPS hardware costs
  Commissioning to full production period
Risk
  Likelihood of occurrence
Machine availability
  Time to recover machine
  Time to recover beam
NCD and supporting hardware
$$$ - €€€
No NCD at the Linac Dump
NCD installed at the
Extraction Dump
✓
X
Foil Failure
Highly likely
Administration failure
highly unlikely

## Slide 6: Masking interlocks
3 level to approve an MPS bypass request
Some MPS interlocks bypasses must be enabled local at the hardware
Bypass log
MPS Screen
Masking enabled
Masking disabled at the MPS hardware
3 approvals required

## Slide 7: Administrative
MPS Interlock checks
  SNS documented procedure
  Completed at the end of every extended outage (2x/year)
    Increasing to 3x per year
  Fault each device locally one at a time to verify the integrity of the system
  Takes about 1 week effort of combined time to go through all of the systems
    > 1000 inputs
  MPS ”fiber” link light measurements are performed every extended outage

## Slide 8: Operational disruptions
> 8 hour downtime example
Software Interlocks wouldn’t work due to incorrect readbacks from power supply
Root cause
Contributing causes

## Slide 9: Operating Metrics
Production hours, what we were supposed to do
Production hours, what we actually did do
% availability during production period
Accelerator physics, what we actually did do
% availability during accelerator physics
Accelerator physics, what we actually did do
Totals

## Slide 10: Operating Metrics
Meeting is held weekly to discuss machine performance
Unscheduled downtime for the week, overview
  Systems showing signs of degradation are discussed
Chart: Breakdown Hours by System
| E-HVCM | CM/SRF | RF | Ops
Hours | 1.4 | 0.4 | 0.4 | 0.4

## Slide 11: Operating Metrics
Unscheduled downtime for the week, detailed

## Slide 12: Operating Metrics
Current FY summary of downtime per group
Chart: Hours down
| E-HVCM | CM/SRF | Ion Source | E-MagPS | RF | E-other (TVA, etc.) | Site Ops | Controls | Target | Vacuum | Mech. Sys. | Ops
7-Feb
5-Jun
31-May
5-Jun
10-Jul
17-Jul
28-Feb
6-Mar
13-Mar
20-Mar
27-Mar
3-Apr

## Slide 13: Sustaining Operations
Moving to 3 target changes per year to prevent disrupting the user program
Original expectations were 2 targets/year
Hg Channels

## Slide 14: Sustaining Operations
Gas injection system online early FY18